|  | ......................... pcs. .............................. € .............................. € Surface-mounted ( ) Flush-mounted ( ) Vent switch LTA-24 with function keys “Open-Stop-Close” and LED function display, enclosure rating IP 40, to match the switch ranges with 55x55mm switch insert. ......................... pcs. .............................. € .............................. € or Surface-mounted ( ) Flush-mounted ( ) Vent switch LTA-230 with function keys “Open-Stop-Close”, enclosure rating IP 40, to match the switch ranges with 55x55mm switch insert. ......................... pcs. .............................. € .............................. € or Surface-mounted ( ) Flush-mounted ( ) Vent switch combined with key switch LTA-24-SCT with function keys “Open-Stop-Close” and LED function display, enclosure rating IP 40, to match the switch ranges with 55x55mm switch insert. ......................... pcs. .............................. € .............................. € or Surface-mounted ( ) Flush-mounted ( ) Vent switch combined with key switch LTA-230-SCT with function keys “Open-Stop-Close”, enclosure rating IP 40, to match switch ranges with 55x55mm switch insert. ......................... pcs. .............................. € .............................. € or Surface-mounted ( ) Flush-mounted ( ) Fan switch convertible to vent switch LTA-LSA with rotary button for “Open-close”, can also be used as a vent switch, enclosed rating IP 40, to match switch ranges with 55x55mm switch insert. or Surface-mounted ( ) Flush-mounted ( ) AS 500 vent switch LTA-24-AZ with function keys “Open-Close” and LED function display, enclosure rating IP 40, to match switch ranges with 55 x 55 mm switch insert, |
| --- | --- |